## Sheet1
Program Syllabus
HVAC Training Program
Course Description: Students will acquire the skills required for entry-level HVAC Service Technician positions upon their successful graduation from the training program. It is comprised of 400 hours of instruction conducted weekdays from 8:00 AM to 4:45 PM, over a 10-week period in classroom and lab settings.
COURSE # | SUBJECT | LECTURE HOURS | LAB HOURS | TOTAL HOURS | BRIEF DESCRIPTION
HVAC-101 | Fundamentals | 7 | 5 | 12 | Learn about the basic skills and tools used in the HVAC industry
HVAC-102 | HVAC Science | 6 | 2 | 8 | Discover the theories and technologies that make air conditioning possible
HVAC-103 | Refrigeration Systems and Components | 20 | 8 | 28 | Develop an understanding of how the large components of HVAC systems work
HVAC-104 | Refrigeration Practices | 21 | 30 | 51 | Learn how technicians handle and use refrigerants safely without harming the environment
HVAC-105 | HVAC Electrical Systems and Components | 27 | 32 | 59 | Learn the principles of electricity and how components and tools are used regularly by HVAC technicians
HVAC-106 | Air-Conditioning Systems | 19 | 16 | 35 | Combine previous units' knowledge to see how they work together to accomplish air conditioning
HVAC-107 | Heating Systems | 8 | 14 | 22 | Learn about the theories and components that apply to heating systems
HVAC-108 | Heat Pump Systems | 24 | 18 | 42 | Learn about the way heat pumps operate more efficiently and how they are supplemented with electric heat
HVAC-109 | System Design, Sizing, and Layout | 24 | 18 | 42 | Learn how to appropriately size equipment and ductwork for residential applications
EPA-608 | Environmental Protection Agency 608 Universal Certification | 8 | 0 | 8 | Students obtain their EPA 608 Universal Certification
HVAC-110 | Installation, Maintenance, Service, and Troubleshooting | 36 | 57 | 93 | Begin to master the art of troubleshooting by encountering real life situations simulated in the lab
Total Hours …………………………………………………………. |  |  |  |  | 400
HVAC TRAINING PROGRAM CURRICULUM OUTLINE
OVERVIEW: Program provides trainee with knowledge and skills required for entry-level HVAC technician work and is comprised of 560 hours of instruction conducted in classroom and lab settings on weekdays, 7:00 AM to 3:45 PM, over a 14-week period in classroom and lab settings.
HVAC-101 - Fundamentals
Unit | Lecture Hours | Lab Hours | Total Hours | Unit Titles |  | Curriculum Reference
1 | 1 | 0 | 12 | Introduction to Heating, Ventilation, Air Conditioning, and Refrigeration |  | AHRI Fundamentals of HVAC Textbook
2 | 1 | 0 |  | Being a Professional HVAC Technician |  | AHRI Fundamentals of HVAC Textbook
3 | 2 | 1 |  | Safety |  | AHRI Fundamentals of HVAC Textbook
4 | 1 | 2.5 |  | Hand and Power Tools |  | AHRI Fundamentals of HVAC Textbook
5 | 1 | 0.5 |  | Fasteners |  | AHRI Fundamentals of HVAC Textbook
6 | 1 | 1 |  | Measurements |  | AHRI Fundamentals of HVAC Textbook
HVAC-102 - HVAC Science
Unit | Lecture Hours | Lab Hours | Total Hours | Unit Titles |  | Curriculum Reference
7 | 1 | 0 | 8 | Properties of Matter |  | AHRI Fundamentals of HVAC Textbook
8 | 2 | 0 |  | Types of Energy and Their Properties |  | AHRI Fundamentals of HVAC Textbook
9 | 1 | 0 |  | Temperature and Thermodynamics |  | AHRI Fundamentals of HVAC Textbook
10 | 2 | 2 |  | Pressure and Vacuum |  | AHRI Fundamentals of HVAC Textbook
HVAC-103 - Refrigeration Systems and Components
Unit | Lecture Hours | Lab Hours | Total Hours | Unit Titles |  | Curriculum Reference
11 | 2 | 1 | 28 | Type of Refrigeration Systems |  | AHRI Fundamentals of HVAC Textbook
12 | 2 | 2 |  | The Refrigeration Cycle |  | AHRI Fundamentals of HVAC Textbook
13 | 2 | 1 |  | Compressors |  | AHRI Fundamentals of HVAC Textbook
14 | 2 | 1 |  | Condensers |  | AHRI Fundamentals of HVAC Textbook
15 | 2 | 1 |  | Metering Devices |  | AHRI Fundamentals of HVAC Textbook
16 | 2 | 1 |  | Evaporators |  | AHRI Fundamentals of HVAC Textbook
17 | 3 | 0 |  | Refrigerants and Their Properties |  | AHRI Fundamentals of HVAC Textbook
18 | 3 | 3 |  | Special Refrigeration Components |  | AHRI Fundamentals of HVAC Textbook
HVAC-104 - Refrigeration Practices
Unit | Lecture Hours | Lab Hours | Total Hours | Unit Titles |  | Curriculum Reference
20 | 1 | 1 | 51 | Refrigerant Safety |  | AHRI Fundamentals of HVAC Textbook
21 | 1 | 2 |  | Refrigerant System Servicing and Testing Equipment |  | AHRI Fundamentals of HVAC Textbook
22 | 3 | 3 |  | Piping and tubing |  | AHRI Fundamentals of HVAC Textbook
23 | 3 | 5 |  | Soldering and Brazing |  | AHRI Fundamentals of HVAC Textbook
24 | 1.75 | 2 |  | Refrigerant System Piping |  | AHRI Fundamentals of HVAC Textbook
25 | 0.25 | 2 |  | Accessing Sealed Refrigeration Systems |  | AHRI Fundamentals of HVAC Textbook
26 | 4 | 1 |  | Refrigerant Management and the EPA |  | AHRI Fundamentals of HVAC Textbook
27 | 2 | 4 |  | Refrigerant Leak Testing |  | AHRI Fundamentals of HVAC Textbook
28 | 2 | 4 |  | Refrigerant System Evacuation |  | AHRI Fundamentals of HVAC Textbook
29 | 3 | 6 |  | Refrigerant System Charging |  | AHRI Fundamentals of HVAC Textbook
HVAC-105 - HVAC Electrical Systems and Components
Unit | Lecture Hours | Lab Hours | Total Hours | Unit Titles |  | Curriculum Reference
30 | 3 | 2 | 59 | Electrical Safety |  | AHRI Fundamentals of HVAC Textbook
31 | 3 | 2 |  | Basic Electricity |  | AHRI Fundamentals of HVAC Textbook
32 | 2 | 0 |  | Alternating Current Fundamentals |  | AHRI Fundamentals of HVAC Textbook
33 | 1 | 3 |  | Electrical Measuring and Test Instruments |  | AHRI Fundamentals of HVAC Textbook
34 | 3 | 2 |  | Electrical Components |  | AHRI Fundamentals of HVAC Textbook
35 | 2 | 2 |  | Electric Motors |  | AHRI Fundamentals of HVAC Textbook
36 | 1 | 2 |  | Motor Controls |  | AHRI Fundamentals of HVAC Textbook
37 | 2 | 2 |  | Motor Application and Troubleshooting |  | AHRI Fundamentals of HVAC Textbook
38 | 4 | 5 |  | Electrical Diagrams |  | AHRI Fundamentals of HVAC Textbook
39 | 3 | 2 |  | Control Systems |  | AHRI Fundamentals of HVAC Textbook
40 | 1 | 0 |  | Communicating Control Systems |  | AHRI Fundamentals of HVAC Textbook
41 | 2 | 10 |  | Electrical Troubleshooting |  | AHRI Fundamentals of HVAC Textbook
HVAC-106 - Air-Conditioning Systems
Unit | Lecture Hours | Lab Hours | Total Hours | Unit Titles |  | Curriculum Reference
43 | 2 | 1 | 35 | Air Filters |  | AHRI Fundamentals of HVAC Textbook
44 | 3 | 1 |  | Ventilation and Dehumidification |  | AHRI Fundamentals of HVAC Textbook
45 | 2 | 1 |  | Residential Air Conditioning |  | AHRI Fundamentals of HVAC Textbook
47 | 3 | 2 |  | Residential Split-System Air-Conditioning Installations |  | AHRI Fundamentals of HVAC Textbook
48 | 3 | 3 |  | Duct Installation |  | AHRI Fundamentals of HVAC Textbook
49 | 6 | 8 |  | Troubleshooting Air-Conditioning Systems |  | AHRI Fundamentals of HVAC Textbook
HVAC-107 - Heating Systems
Unit | Lecture Hours | Lab Hours | Total Hours | Unit Titles |  | Curriculum Reference
50 | 1 | 0 | 22 | Principals of Combustion and Safety |  | AHRI Fundamentals of HVAC Textbook
51 | 1 | 5 |  | Gas Furnaces |  | AHRI Fundamentals of HVAC Textbook
52 | 2 | 3 |  | Gas Furnace Controls |  | AHRI Fundamentals of HVAC Textbook
53 | 1 | 2 |  | Gas Furnace Installation |  | AHRI Fundamentals of HVAC Textbook
54 | 1 | 4 |  | Troubleshooting Gas Furnaces |  | AHRI Fundamentals of HVAC Textbook
59 | 1 | 0 |  | Space Heaters |  | AHRI Fundamentals of HVAC Textbook
60 | 1 | 0 |  | Humidifiers |  | AHRI Fundamentals of HVAC Textbook
HVAC-108 - Heat Pump Systems
Unit | Lecture Hours | Lab Hours | Total Hours | Unit Titles |  | Curriculum Reference
61 | 3 | 2 | 42 | Electric Heat |  | AHRI Fundamentals of HVAC Textbook
62 | 2 | 2 |  | Electric Heat Installation |  | AHRI Fundamentals of HVAC Textbook
63 | 6 | 6 |  | Troubleshooting Electric Heat |  | AHRI Fundamentals of HVAC Textbook
64 | 4 | 2 |  | Heat Pump System Fundamentals |  | AHRI Fundamentals of HVAC Textbook
65 | 2 | 1 |  | Air-source Heat Pump Applications |  | AHRI Fundamentals of HVAC Textbook
67 | 3 | 1 |  | Heat Pump Installation |  | AHRI Fundamentals of HVAC Textbook
68 | 4 | 4 |  | Troubleshooting Heat Pump Systems |  | AHRI Fundamentals of HVAC Textbook
HVAC-109 - System Design, Sizing, and Layout
Unit | Lecture Hours | Lab Hours | Total Hours | Unit Titles |  | Curriculum Reference
69 | 2 | 0 | 42 | Basic Building Construction |  | AHRI Fundamentals of HVAC Textbook
70 | 6 | 4 |  | Green Building and Systems |  | AHRI Fundamentals of HVAC Textbook
71 | 4 | 4 |  | Indoor Air Quality |  | AHRI Fundamentals of HVAC Textbook
72 | 4 | 3 |  | Residential Load Calculations |  | AHRI Fundamentals of HVAC Textbook
73 | 3 | 2 |  | Duct Design |  | AHRI Fundamentals of HVAC Textbook
74 | 2 | 3 |  | Zone Control Systems |  | AHRI Fundamentals of HVAC Textbook
75 | 3 | 2 |  | Testing and Balancing Air Systems |  | AHRI Fundamentals of HVAC Textbook
Environmental Protection Agency 608 Universal Certification
Unit | Lecture Hours | Lab Hours | Total Hours | Unit Titles |  | Curriculum Reference
Core | 2 |  | 8 | Core |  | Skillcat eLearning
Type 1 | 2 |  |  | Type 1 (Small Appliances) |  | Skillcat eLearning
Type 2 | 2 |  |  | Type 2 (High-Pressure) |  | Skillcat eLearning
Type 3 | 2 |  |  | Type 3 (Low-pressure) |  | Skillcat eLearning
HVAC-110 - Installation, Maintenance, Service, and Troubleshooting
Unit | Lecture Hours | Lab Hours | Total Hours | Unit Titles |  | Curriculum Reference
76 | 6 | 1 | 93 | Installation Techniques |  | AHRI Fundamentals of HVAC Textbook
77 | 10 | 8 |  | Planned Maintenance |  | AHRI Fundamentals of HVAC Textbook
78 | 3 | 9 |  | Refrigeration System Cleanup |  | AHRI Fundamentals of HVAC Textbook
79 | 17 | 39 |  | Troubleshooting |  | AHRI Fundamentals of HVAC Textbook
Curriculum References
AHRI Fundamentals of HVAC by Carter Stanfield and David Skies
Skillcat eLearning: https://www.skillcatapp.com/epa-certification-universal-online